## Slide 1
Introduction
Hazard Identification or job hazard analysis is a best practice where each day before work begins, potential
hazards are identified, control measures are taken, work practices are outlined, and required PPE is utilized.
In this presentation, we are taking it from the viewpoint of homebuilding. Each stage of construction in this
presentation includes several examples of what to look for before starting work. This list is not exhaustive, but it
should give everyone an idea of how to develop a plan that works for you.

## Slide 2
Questions to ask……
What could hurt someone? What can we eliminate?
What can we isolate? What PPE is required?
What has changed since the original assessment?

## Slide 3
Home Start
Safe access to homesite
Open utility trenches Blue stake called
Soil conditions
Form stake protection
Pump truck staging

## Slide 4
Framing
Lot graded
Storm damage Material staging Rebar protected
PFAS’s in good condition Power – lockout/tagout

## Slide 5
Rough Mechanicals
Power – lockout/tagout Correct ladders
Fire extinguisher readily available Safety rails installed

## Slide 6
Drywall/Lath/Stucco
Scaffolding properly erected Proper ladders
Drywall safely stacked Floors clear of debris
Silica PPE

## Slide 7
Trim Carpentry
Material Safely Stacked
Proper ladders Eye Protection Guardrails in place
No sanding going on

## Slide 8
Paint
Proper ventilation
Respirators
Proper ladders Fall protection

## Slide 9
Cabinet/Countertops
Electrical hazards – hot outlets
Toe protection Silica PPE
Clear path for dolly
Guard rails installed

## Slide 10
Trim Mechanicals
Check electric power
Fire extinguisher readily available 2nd person for hot weather attic work Check for gas leaks

## Slide 11
Flooring Installation Exposed wiring
N95 masks
Guards on angle grinders Safety glasses

## Slide 12: Final clean/paint Proper ladders Fall protection
Final clean/paint Properladders Fall protection

## Slide 13
Homebuyer Acceptance Uneven surfaces Tripping hazards
Electrical trim Complete
Panel complete and secured AC working

## Slide 14
In Conclusion
Whether it’s a written plan that is filled out each day, like 3G’s, or it’s an informal process where you take a couple of minutes to look for potential hazards, injuries would be greatly reduced if we all implemented this best practice.
Remember, we're all in this together!
Exposing Employer: Your own workers are at risk. You must protect them by inspecting the site, removing workers from extreme danger, and reporting hazards.
Creating Employer: You caused the hazard. You can be cited even if only another
company's workers are exposed.
Controlling Employer: You hold general supervisory or contract authority over the site. You must use reasonable care to prevent and detect violations.
Correcting Employer: You are tasked with installing or maintaining safety equipment. You must fix assigned safety issues properly.
“When performance is measured, performance improves.
When performance is measured and reported, the rate of improvement accelerates”.